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Product declarationDATE OF ISSUE 19/12/2025



SLIDE for tiled roofs

	Company information
	PROMOUNT bv
Schoebroekstraat 48, Paal-Beringen, België

	Product description
	Article code
	Description

	
	1SLD15DD005
	Roofhook FastNSafe

	
	1SLD15DE001
	Roofhook double adjustable SLIDE

	
	1SLD15DD002
	Roofhook single adjustable SLIDE

	
	1SLD43AL001
	Profile SLIDE alu

	
	1SLD43ZW001
	Profile SLIDE black
+ other lenghts

	
	1SLD32AL001
	Middle clamp SLIDE alu

	
	1SLD32ZW001
	Middle clamp SLIDE black

	
	1HFR10BT001
	Hammerhead bolt & nut SLIDE

	The concerned products are composed of aluminium 6063T66 + SS304 and are to be used as a roof connection on pitched steeldeck roof-tops for photovoltaic module substructures. 

The concerned products are verified in quality control by final random quality inspection.
The quality controls of the products consist of:
· a visual check according sampling ISO 2859-1
· an assembling verification according sampling ISO 2859-1
the complying with the technical specifications – dimensions according technical design



This declaration of performance is based on the testing of the overall mounting system for the stability against uplift resistance.

The components of the described mounting system are mechanically examined in a laboratory setting performed by Kiwa BDA, The Netherlands. Report 24L0142/7 26/09/2024
These tests are uplift tests which represent the maximal wind load that can be resisted by the mounting system and are performed according NEN7250. 

The tests and calculations are performed in accordance with the following applicable standards:
-	EN 1991-1-4
-	EN 1991-1-3
-	NEN 7250

This certification does not serve as a project specific certification. Each individual project should be evaluated by carrying out calculations considering the local constraints of the applicable standards.

Name undersigned			Function undersigned				Signature
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