DATE OF ISSUE 19/12/2025

Product declaration

SLIDE for tiled roofs

| Company information | PROMOUNT bv Schoebroekstraat 48, Paal-Beringen, België |  |
| --- | --- | --- |
| Product description | Article code | Description |
|  | 1SLD15DD005 | Roofhook FastNSafe |
|  | 1SLD15DE001 | Roofhook double adjustable SLIDE |
|  | 1SLD15DD002 | Roofhook single adjustable SLIDE |
|  | 1SLD43AL001 | Profile SLIDE alu |
|  | 1SLD43ZW001 | Profile SLIDE black + other lenghts |
|  | 1SLD32AL001 | Middle clamp SLIDE alu |
|  | 1SLD32ZW001 | Middle clamp SLIDE black |
|  | 1HFR10BT001 | Hammerhead bolt & nut SLIDE |
| The concerned products are composed of aluminium 6063T66 + SS304 and are to be used as a roof connection on pitched steeldeck roof-tops for photovoltaic module substructures. The concerned products are verified in quality control by final random quality inspection. The quality controls of the products consist of: - a visual check according sampling ISO 2859-1 - an assembling verification according sampling ISO 2859-1 the complying with the technical specifications – dimensions according technical design |  |  |

This declaration of performance is based on the testing of the overall mounting system for the stability against uplift resistance.

The components of the described mounting system are mechanically examined in a laboratory setting performed by Kiwa BDA, The Netherlands. Report 24L0142/7 26/09/2024

These tests are uplift tests which represent the maximal wind load that can be resisted by the mounting system and are performed according NEN7250.

The tests and calculations are performed in accordance with the following applicable standards:

-	EN 1991-1-4

-	EN 1991-1-3

-	NEN 7250

This certification does not serve as a project specific certification. Each individual project should be evaluated by carrying out calculations considering the local constraints of the applicable standards.

Name undersigned			Function undersigned				Signature